SOUTHEAST COMMUNITY COLLEGE

CONSTRUCTION MANUFACTURING AND TECHNOLOGY DIVISION

Electrical/Electromechanical Technology Program

Revision Date: August 21, 2023

I.  	CATALOG DESCRIPTION

Course Number:	ELEC2555

Course Title	Industrial Communications and Alarm Systems

Pre/Corequisite(s):	ELEC1217

Catalog Description:  	Installation and maintenance of data communications systems, security/fire alarm systems, and telephone systems.

Credit Hours:	2

Class Hours:	15

Lab Hours:             	45

Total Contact Hours:   	60

II.  	COURSE OBJECTIVES: Course will

- Prepare the students to install and maintain security and fire alarm systems.

- Prepare the students to install and maintain copper and fiber data communication systems.

- Enable the students to troubleshoot security, fire alarm and data communications systems.

- Enable the students to understand communications methods in security, fire alarm and data communications systems.

III.    	STUDENT LEARNING OUTCOMES AND GENERAL EDUCATION LEARNING OUTCOMES:

- Student Learning Outcomes: Student will be able to

- Install, program and maintain security and fire alarm systems.

- Install and troubleshoot voice, data and fiber optic cabling systems.

B.   	General Education Learning Outcomes (GELOs)

- GELO #3: Critical Thinking & Problem Solving

Outcome 1: Collect, identify, interpret and analyze data.

IV.      	CONTENT/TOPICAL OUTLINE

- Security and Fire Alarm Systems

- Alarm System Block Diagram

          - Define zone

          - Perimeter vs. interior

          - Hardwired vs. addressable

- Switches and sensors

a.    Magnetic reed switch

      - Theory of operation

      - Normally open/normally closed

      - Ohmmeter testing

      - Types: standard, garage door, recessed, mini & addressable

      - Operating gap

      - Installation

- Glass breakage detection

  - Window foil

  - Self latching detector

  - Pulse stretcher detector

  - DSP detector

  - Detector installation

- Motion detection

        - PIR motion detector

- Microwave motion detector

- Theory of operation

- Coverage pattern

- Bistatic vs. monostatic

- Installation

- Gain and response time

- Fire detection

- Manual pull stations

- Water flow switches

- Photoelectric and ionization smoke detectors

- Flame detectors

- Fixed temperature heat detectors

- Rate of rise heat detectors

- Selection

- Installation

- System Wiring

- Normally closed loops

- EOLR supervised loops

- Testing w/voltmeter

- Splicing w/crimp connectors

- Addressable devices

- Sirens and siren drivers

- Battery connections

- Wiring 2, 3 and 4 wire detectors

- Fire Alarm System

- IDC wiring

- NAC wiring

- FACP programming

- Voice Evacuation panels

- System Programming/Operation

- Zone response types

- Addressable device configuration

- Arming and bypassing zones

- Access codes

- Alpha descriptors

- Security and Fire Alarm System labs

- Ademco VISTA20

- Ademco Polling Loop Lab

- Fire-Lite Fire Alarm System Lab

- Voice, Data and Fiber Optic Systems

- Cable Types

- Noise

- Crosstalk

- UTP

- STP

- Shield

- Drain wire

- Coaxial

- ScTP or FTP

- Jacket Types: general purpose, riser and plenum ratings

- Cable Properties

- Data Rate and Bandwidth

- Category 3

- Category 5

- Category 6

- Mbps vs. MHz

- Characteristic impedance

- Attenuation

- NEXT, ELFEXT and headroom

- Propagation delay and delay skew

- Telecommunications Hardware

- Modular plugs and jacks

    - Plug vs. jack

    - 6P4C plug (RJ-11)

    - 8P8C plug (RJ-45)

    - 6P6C jack

    - 8P8C jack

- Cross connects

    - 110 Blocks

    - 66 Blocks

    - Patch panel

- Wire management

    - Stapling, fasteners and cable ties

    - J hooks and brackets

    - Cable trays

- Terminations

- Standard wiring patterns

    - T568A

    - T568B

- TIA wire color codes

- 8P8C and 6P4C modular plug

- 8 and 6 position jack

- 110 cross connect block

- 110 termination on patch panel

- Maximum untwisting

- Cable jacket removal

- TIA-568 standard

- Structured cabling systems

- Service entrance

- MDF

- Backbone cabling

- IDF

- Horizontal cabling

- Work area

- Link vs. channel

- Cable installation

- Maximum cable lengths

- Minimum band radius

- Maximum pulling (tensile) load

- Kinking and cinching

- Cable routing guidelines

- Cable testing w/Fluke DSP-100 and DTX-1800

- Telephone Systems

- DC voltages on and off hook

- Ringer voltage

- Pulse and tone dialing

- Tip and ring pair concept

- Fiber Optics

- Fiber optic safety

- Kinds of connectors: ST, SC, SMA, FC and Biconic

- Core and cladding

- Single and multi-mode

- Fiber cable construction

- Simplex and duplex

- Breakout and distribution cable

- SC terminations using AMP LightCrimp connector

- Cable testing w/Optical Power Meter

- Voice and Data Cabling Lab Projects

- Modular jack and plug terminations

- 110 terminations on a 110 cross connect block

- 110 terminations on a patch panel

- Cable performance testing

- ST fiber optic connector termination

V.     	INSTRUCTIONAL MATERIALS

- Required Text(s): None

- Other Resources: None

- Supplies:  Industrial Communications Parts Kit, Three-Ring Notebook and Three-Ring Index Dividers

VI.   	METHODS OF PRESENTATION/INSTRUCTION

- Methods of presentation typically include a combination of the following:

- Lecture

- Lab

- Homework/Quizzes

- Utilizing online shell for documentation and homework/quizzes

VII.   	METHODS OF EVALUATION

- Methods of evaluation, although determined by the individual instructor, traditionally includes a combination of the following:

  - Participation

  - Exams and Quizzes

  - Homework

  - Lab performance

VIII. 	SPECIFIC COURSE REQUIREMENTS

- A minimum grade of 60% is required.

- Credit by Examination: Credit for the course CANNOT be earned through Credit by Examination.